Portable Appliance Testing

for

Dummies

- CHECK PLUG

- CHECK LEAD

- CHECK APPLIANCE

- IS IT CLASS I OR CLASS II?

- ANY DAMAGE TO OUTER BODY

- SWITCH ON

- CARRY OUT APPROPRIATE ELECTRICAL TEST

- RECORD RESULTS

- SWITCH OFF AFTER TESTING

Portable Appliance Testing

A Simple  Guide

- Earthed equipment will have a three core supply cable

- Live       Brown to the Right

- Neutral  Blue to the Left

- Earth

- Double insulated equipment will have a two core supply

- Live

- Neutral

Class II Test

Class I Test